## UniSA WHS Hazard Register-Copy
|  | UniSA WHS Hazard Register | Note - This document maps the University's hazards grouped into hazard types against action taken to eliminate or mitigate risk
Last update: Work in Progress as at November 2023
Key Units | Category | Description of Hazard/Risk | Inherent Risk Rating | Controls | Applicable Legislation | Standards / Codes of Practice | UniSA Policies and Procedures | Residual Risk | Last Audit Date | Auditor | Last System Review Date | Comments | __PowerAppsId__
FMU | Air Quality - Indoor | • Poor thermal comfort • Inadequate Ventilation •Air quality contamination due to accidental emissions | Medium | Engineering Building Management Systems Maintenance of building ventilation and extraction systems Administrative Occupational Hygiene Assessment as Required Worksite inspections | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | AS/NZS 1668 (series) The use of ventilation and air conditioning in buildings | WHS Procedure- Managing Workplace Health and Safety Risks | Low |  |  |  |  | 33d8a77b-5adf-4d4c-83b4-7c7f9260af82
CAF | Animal Work | • Compassion Fatigue • Infectious animals (Bites, scratches) • Animals escaping enclosures •Manual handling (refer to Manual Handling Section) • Animal waste • Pathogens • Infection • Needlestick injuries • Anaesthetics • Exposure to cytotoxic drugs • Sharps / scalpels • Biological material exposure | High | Isolation - Restricted Access control to Level 12 CAF, Gilles Plains Facility and Lab areas Engineering - Local exhaust (nedermann arms) for working with anaesthetics - Oxygen monitors - Demarcated gowning area/barrier - Airlock Administrative - RA and SOP - CAF Induction Handbook - UniSA Animal Ethics application (safety and wellbeing control for animals) - Biosafety application - Vaccinations - Induction and Training Records - Technical servive team inspections PPE - Lab gowns, safety glasses, gloves, closed shoes - Mask fit testing Training - Practical training and induction by CAF team - Compassion Fatigue Training - organised by CAF - Animal handling training delivered by CAF, will not grant access until user is deemed competent in animal injecting. - Biological safety training (Refer to Section on Biological) | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) •Gene Technology Act (2000) •Gene Technology Regulations (2001) | • AS/NZS 2243.3.2022 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes | WHS Guideline Communicable Diseases (2020) WHS Guideline - Personal Protective Equipment (2020) IBC Communicable Diseases and Immunisation Guidelines IBC_CDIG_3 (2020) WHS Procedure – Managing workplace health and safety risks (2020) WHS Procedure – Hazard/Incident Reporting & Investigation (2020) | Low |  |  |  |  | 8c1c0ef6-3be1-4b73-97ab-e088ae90db28
FMU | Asbestos | Exposure to asbestos and asbestos containing material in the workplace Lung cancer & mesothelium from inhalation of ariborne asbestos fibres Exposure to naturally occurring asbestos (i.e. rock samples in geology, contaminated soils in reseearch) | Medium | Substitute Removal by licenced contractors only Engineering Maintain naturally occurring asbestos in its natural state Administrative Asbestos Management Plan Asbestos Registers Non-invasive reinspections by competent person Intrusive/ destructive pre-demolition or refurbishment survey Annual removal program Permit to Work and Asbestos Testing and Change Summary/ Asbestos Clearance Certificate Air monitoring during removal works Warnings signs and labelling Contractor Management | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | •How to manage and control asbestos in the workplace Code of Practice (Safework SA June 2020) •How to safely remove asbetos Code of Practice (Safework SA June 2020) | Asbestos Management Plan V1.1 (June 2020) Using Asbestos Register - FM-PROC-086 | Low |  |  |  |  | 4a3163a5-cc0d-4b68-afdb-5f5206084533
IBC | Biological hazards | Pathogen exposure or contamination (bacteria/virus/prion/fungus) Genetically modified organisms (GMO) Release of biological agent into uncontrolled environment Import and export of biologically hazardous materials Infectious wastes Working with animals (see section on “Animal Work”) | Medium | Isolation Containment laboratories with Restricted Access Engineering Engineering Controls (Biosafety Cabinets) Administrative Institutional Biohazards Committee Risk Assessments Safe Operating Procedures Laboratory induction Scheduled workplace inspections Hazardous waste disposal procedures Biological safety working group Training Biosafety online learning module Biosafety seminar | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) •Gene Technology Act (2000) •Gene Technology Regulations (2001) | • AS/NZS 2243.3 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes | WHS Guideline Communicable Diseases (2020) WHS Guideline - Personal Protective Equipment (2020) Policy - Biological Hazards and Genetically Modified Organisms RES-4.3 (2008) IBC Communicable Diseases and Immunisation Guidelines IBC_CDIG_3 (2020) WHS Procedure – Managing workplace health and safety risks (2020) WHS Procedure – Hazard/Incident Reporting & Investigation (2020) UniSA Biosafety Manual (2018) | Low |  |  |  |  | 6d928f78-0ebe-492d-8bb6-72bf738ceb45
PTC | Bullying & Harassment | Exposure to bullying and harrassment in the workplace to staff or students. | Medium | Administrative PTC website quick guides Employee assistance program SafeZone Discrimination and Harassment Grievance procedure Code of Ethical Conduct Discrimination and Harassment Grievance Procedures Recognising and Managing Workplace Bullying Guide Treating People with Respect: A Good Practice Guide SASH website, guide and reporting process Training Respectful Behaviours Learn Online Module Dealing with Challenging student behaviour. | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | Note - Psychosocial Regulation & CoP, release date December 2023 in SA |  | Low |  |  |  |  | d7ba260c-b84b-4061-b499-785169a261de
UCASC; University Chemical Safety Officer | Chemicals | Exposure to chemicals through inhalation, skin/eye contact, injection or ingestion can cause acute and/or chronic acute health effects. Examples of chemicals with health hazards include toxic chemicals (poisons), carcinogens (cancer-causing chemicals) and reproductive toxins (chemicals which may cause infertility or birth defects). Physical hazards due to the properties of a chemical that can result in immediate injury to people or damage to property if inappropriately handled. Exmaple of physical hazrads include flammable, corrosive, explosive, chemically-reactive and oxidising chemicals. | High | Purchasing and Safety processes Safe management of Chemicals processes University Chemical Advisory Safety Committee (UCASC) approval process MyOSH Chemical risk assessment system Chemwatch Gold FFX - chemical registers and chemical safety data sheets Induction and training online and face to face Chemical Safety LearnOnline Modules Laboratory safety manuals Laboratory inspection process Chemical process risk assessments Chemical labelling Chemical stores and cabinets Chemical incompatibility reports Chemical spills management processes and kits Safety signage and placards Maintenance of engineering Controls - E-stops, gas alarms, safety showers/eye wash units, fume extraction, fume cupboards, gloveboxes, trolleys Controlled Substances Permits for the University (schedules 2 to 7) and individual users (Schedule 8 & 9) and usage logs Dabgerous Substances licences (campus based) Prohibited and Restricted Carcinogens licences Licence to store dangerous goods for each campus Chemical Reproductive Hazards Guideline Lead Risk Work Guideline Safe use of liquid nitrogen (and other cryogenic fluids) Guideline Working Safely with engineered nanoparticles Manual | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) • Dangerous Substances Act (1979) • Dangerous Substances Regulations (2017) • Controlled Substances Act (1984) Controlled Substances Regulations (2014) | •Managing Risks of Hazardous Chemicals in the Workplace Code of Practice (Safework SA June 2020) •Labelling of workplace hazardous chemicals Code of Practice (Safework SA June 2020) •Preparation of safety data sheets for hazardous chemicals Code of Practice (Safework SA June 2020) •Spray painting and powder coating Code of Practice (Safework SA June 2020) •Welding processes Code of Practice (Safework SA June 2020) •AS/NZS 1596 The storage and handling of LP Gas •AS 1940 The storage and handling of flammable and combustible liquids •AS 2030 Gas cylinders •AS2243.2 Safety in laboratories Part 2: Chemical aspects and storage •AS 2714 The storage and handling of organic peroxides •AS/NZS 2982 Laboratory Design and Construction •AS 3780 The storage and handling of corrosive substances •AS/NZS 3833 The storage and handling of mixed classes of dangerous goods •AS/NZS The storage and handling of isocyanates •AS 4326 The storage and handling of oxidizing agents •AS/NZS 4452 The storage and handling of toxic substances AS/NZS 5026 The storage and handling of Class 4 dangerous goods | Safe Management of Chemicals Procedure (February 2020, v3.4) Controlled Substances - Management of Regulated Chemicals Procedure (March 2020, v1.2) | Medium | WHS Internal Audit Report - Safe Management of Chemicals - December 2021 | Lawson Risk Management Services |  |  | 8da6b7f8-8b3b-4a0a-8c8e-0d0164847319
IBC and S&W | Infectious communicable diseases | Exposure to communicable diseases via teaching or research activities | Medium | Administrative Federal and State Government direction and controls Communicable diseases and Immunisation Guidelines incorporating Vaccination process University Emergency Crisis Cache | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | • AS/NZS 2243.3 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes |  | Low |  |  |  |  | fd1cefc3-84ad-4657-bf4a-7bfe6059f0ff
FMU | Confined spaces (Refer to restricted access spaces) | • Unrestricted access to confined spaces • Inadequate risk assessment of confined space • Inadequate identification of confined space • Poorly ventilated workplaces • Unqualified / non-competent people entering confined spaces •Lack of appropriate access / egress points | High | Substitute •Only external contractors deemed competent will enter a confined space Administrative •FMU managed confined space register •Confined space signage •Audits and certification of spaces conducted by an external provider | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Part 3, Confined Spaces | •Confined Spaces Code of Practice (SafeWork SA June 2020) •Australian Standard, Worksafe Australia National Standard, Safe Working in a Confined Space - AS 2865-1995 • AS1319: 1994 Safety signs for the occupational environment • AS/NZS 1715: 2009 Selection, use and maintenance of respiratory protection devices • AS/NZS 1716: 2012 Respiratory protection devices •Confined/Restricted Space Risk assessment (WHS35) Confined Space Entry Permit (WHS36) •Contractor Permit to Work (WHS27) •Hot Work Permit (WHS38) | • WHS35 Confined Space/Restricted Space Procedure •WHS27 Permit to work •WHS36 Confined space entry permit | Low |  |  |  |  | dbcaec99-00af-405f-8856-e13b46bbf422
FMU | Contractor Work | • Unfamiliar with UniSA health and safety procedures • Work that adversely impacts on the UniSA environments and/or staff/students • Conducting work unsafely or in conflict UniSA's procedures • High risk and/or specialised tasks • Introduced hazards into the workplace | High | Training •Learn online Contractor Safety module Administrative •Spot checks conducted by FMU of contractors on site to determine safe systems of work and compliance with UniSA procedures •Contractor sign in and induction protocols | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Chapter 3, General Risk and Workplace Management | • How to manage Work Health and Safety Risks Code of Practice (SafeWork SA June 2020) | •Contractor Management Procedure •Contractors Engaged Locally Guideline •Contractor Permit to Work (WHS 27) •Contractor Safety Induction Checklist (WHS28) •Contract Mobilisation Checklist (WHS28a) •Contractor Safety Evaluation Checklist (WHS76) •Contractor Site Observation Checklist (WHS77) •Contractor risk assessments and Standard Operating Procedures | Medium | 2015-08-20 | Risk and Assurance Services |  |  | 1bcf42a0-c442-4ee2-8e5c-7af694372216
FMU | Driving | • Unsafe driving behaviours: − speeding − hooning −impairments, alcohol / drugs , fatigue - inexperienced,distance,environment | High | Substitute •External Contractors for Driving Services Administrative •Driving Safely Learn Online Module •Appropriate licence for particular vehicles •Heavy Vehicle Driver Fatigue Regulations •University level risk assessment •Driving Vehicles While Working Risk Management Form - WHS06 •Vehicle fleet managed by FMU •External 4WD course | • Australian Road Rules | • Managing the Work Environment and Facilities Code of Practice (SafeWorkSA June 2020) | • Fieldwork Safety WHS Procedure | Low | 2016-11-01 | HS&IM Committee review of effectiveness of program |  |  | c37f5245-fb4a-4265-a5a9-f98509cc3337
FMU | Electricity | • Use of faulty equipment/appliances • Use of uncertified electrical equipment/appliances • Incorrect and/or faulty electrical installation • Use electrical equipment/appliances that do not meet relevant Standards and Codes | High | Isolation • RCD protection Substitute • Work conducted by licenced electricians only Administrative • Certificate of competence for internal testers • Electrical Equipment Register (WHS25) | •South Australia Work Health and Safety Regulations (2012) - Division 7, General electrical safety in workplaces and energised electrical work | • Managing Electrical Risks in the Workplace Code of Practice (SafeWorkSA June 2020) | • In Service Inspection and Testing of Electrical Equipment Procedure • Incident notifications to Office of Technical Regulator | Medium |  |  |  |  | 67207e6c-1d21-4cf8-8851-f13451cdf919
FMU | Emergencies | • Uncontrolled emergency incident leading to adverse outcomes: − loss of life − injury or illness − property damage − continued unsafe environment • Loss of communication • Breakdown in emergency procedures • Failure to identify critical incident • Uncontrolled critical incident leading to adverse outcomes: − human life, safety and wellbeing − animal life, safety and wellbeing − environmental protection − the protection of property interests; | High | Training Emergency Awareness Management Module Emergency Control Organisation Trained Wardens Administrative Campus Response Team Campus Management Advisory Groups Evacuation Drills and post evacuation reports Induction processes Personal Emergency Evacuation Plans Strategic Crisis Management Team Emergency Management Committee Emergency Response Offshore Crisis Communications SafeZone App | •South Australia Work Health and Safety Regulations (2012) - Division 4, Emergenciy Plans | • Managing the Work Environment and Facilities Code of Practice (SafeWorkSA June 2020) | •FMU Emergency procedures •Students at Risk Toolkit •First Aid in the Workplace Procedure • WHS82 Personal emergency evacuation plan | Medium | 2016-12-19 | FMU External Fire Systems |  |  | 97af3137-fe33-428a-9777-a45b15d93165
FMU | Events | • Equipment hire •Unknown and introduced risks • Large numbers of people/public (COVID concerns) •Inadequate capacity venue •Uncontrolled events • One-off events • Inappropriate behaviours • Traffic hazards • Consumption of alcohol | Medium | Administrative Activities individually risk assessed at local level WHS9 Public Events Risk Management guidance for event co-ordinators Security arrangements | South Australian Liquor Licensing Act (1997) | •SafeWorkSA Event Safety Management Information (2018) •Guidelines for the Management of Public Health and Safety at Events produced by SA Health •Safe and Healthy Mass Gatherings produced by Emergency Management Australia. •AS/NZS ISO 31000:2009 Risk Management – Standards Australia. | • Application process for a short term liquor licence (FMU Intranet) • Appian Functions Booking request • Public events risk management template (for completion of local level risk assessment) | Low |  |  |  |  | f8e1aacd-f2c9-40ef-9821-778abff4d9d6
Units as applicable | Fieldwork | •Remote locations • Isolated work • Field work activities • Driving long distances and in unfamiliar environments • Inadequate communication •Working outdoors in the natural elements • Unexpected events/emergencies • Increased risk of slips, trips, falls •Interaction with flora and fauna • Being in, on or near water • Manual tasks • Fatigue | High | Engineering first aid kits and fire extinguishers in vehicles (to be checked) Location Monitoring apps Training Driver Training Staff first aid trained Administrative Pre-planning of trips, including checking of weather conditions (eg: bushfire zones / catastropic fire warnings) Call-in / check in protocols |  |  | •Fieldwork Safety Procedure (inc risk assessment) •Fieldwork and Medical Acknowledgement (WHS73) •Fieldwork Information Notice (WHS72) •Fieldwork Detail Form (WHS71) •Fieldwork Assessment Tool (UniSA STEM) • On-call staff rostered for check-ins by remote team (UniSA STEM) | Low | 2013-09-04 | Service Transformation Office |  |  | 0c770ed8-9f94-4b49-a589-0b33cc78c313
FMU | Gases | • Hydrogen gas • Nitrogen gas • Natural gas • Flammable refrigerant gases | High | Engineering Gas Lines and Manifolds Gas Detection Systems External gas cages to restrict access Training Swagelok University Outreach Training | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Section 72 - Flammable Gases and Vapours (in relation to gases in confined spaces), Division 8 - Hazardous Atmospheres, Division 9 - Storage of Flammable or Combustible Substances, Chapter 5, Section 224, Pressure Equipment | AS 2030.1:2009 (Gas cylinders—General requirements) Workplace exposure standards for airbone contaminants (WES list) CoP Managing risks of hazardous chemical in the workplace - Divison 2.1 Flamable gases Australian Dangerous Goods Code. |  | Medium |  |  |  |  | a4216a61-6b23-40d3-9a96-532b8eb6ac40
Academic & central Units (eg: CTV, STEM, FMU) | Work at Heights i.e., ladders, elevated work platforms | • Working close to an unprotected edge • Unsuitable working environment: − slippery, brittle roof − faulty anchor points − adverse weather conditions • Falling objects • Inappropriate use of access and/or fall arrest equipment: − ladders − scaffold − elevated work platform − harnesses and lanyards − Fieldwork scenarios | Medium | Engineering Tie in and or anchor points Training Appropriate Training and Licensing (where required) Working Safely at Heights online module (under development) Administrative Work at Heights Risk Assessment WHS 78 Appropriate Training and Licensing (where required) Standard Operating Procedures Scheduled inspections / servicing / certification of EWPs, harnesses and other associated equipment such as anchor points on structures Contractor engagement process and checking of working at heights training evidence | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | • Code of Practice - Managing the risk of falls at the workplace • Information sheet: Safe Work Method Statement for Construction work • Safework Australia Guide to inspecting and maintaining EWP • Safework Australia Guide to managing the risks of EWP | WHS Procedure: Managing Workplace Health and Safety Risks WHS Procedure: Contractor Safety WHS 27 Permit to Work | Low |  |  |  |  | 7d5c7b3a-a21a-41c9-b858-a490bd02b0cd
FMU and Units as applicable | High Risk Work i.e. Scaffolding, Rigging, Cranes, Forklifts | Contratctors can be engaged by UniSA to undertake a vareity of work classisfied as High Risk Work | Medium | Contractor engagement process Risk assessment process (WHS2) Scheduled servicing and maintenance Appropriate training and licensing Standard Operating Procedures | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | General guide for scaffolds and scaffolding work. Safework Australia | WHS Procedure: Managing Workplace Health and Safety Risks WHS Procedure: Contractor Safety | Medium |  |  |  |  | 9b4d7787-0a93-4971-b281-0bba606c8db0
All Units | Manual handling | Hazardous manual handling activities that include the following characteristics: − repetitive or sustained application of force − repetitive or sustained awkward posture − repetitive movement − application of high force − exposure to sustained vibration − handling of a person or an animal − handling of unstable / unbalanced loads or loads which are difficult to grasp / hold • Factors resulting in musculoskeletal disorders or other injuries include: − poor workplace design − poor work designs − poor job practices | Low | Training Manual Handling Safety Learn Online Module Administrative Hazardous Manual Tasks - Management Guideline Risk assessment process (WHS2) | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | Code of Practice - Hazardous manual tasks | WHS Guideline - Hazardous Manual Tasks | Low |  |  |  |  | f228fc1c-9187-4de5-853b-29fd0b3fed29
All Units | Mental Illness | Psychosocial hazards may result from • high or low job demands; violence and aggression; • Harassment and sexual harassment; bullying; • conflict or poor workplace relationships and interactions • lack of role clarity ; poor organisational change management • inadequate reward and recognition • poor physical environment; remote work or isolation; • traumatic events. | Medium | Training Learnonline BUPA Mental Wellbeing modules Accredited mental health first aid course offered to staff annually Administrative Mental Health and Wellbeing Guideline Employee Assistance Program including Manager Assist UniSA Counselling Service for students UniSA Psychology Clinic UniSA Health Medical Clinics PTC Psychological Hazard Management webpage Priority action in WHS Local Action Plans |  | Managing Psychosocial Hazards at Work - Code of Practice - Psychological Hazards National guidance material. Work-related psychological health and safety. A systematic approach to meeting your duties. Note - Due for release n SA December 2023 |  | Low |  |  |  |  | 4e5c2862-492e-404b-bf21-16a11f5d2631
All Units | Office & screen-based work | Risk of development of musculo-skeletal disorder Risk of extended sitting and lack of activity | Medium | Engineering The Ergo Centre Training Office Ergonomics online awareness module Administrative Workstation Self Assessment - Appian S&W Consultation support WorkPace Ergonomic Software provided where required WHS Guidelines for ergonomic software and for sit/ stand workstations Voice Activated Software (Dragon) available to support staff |  |  |  | Medium |  |  |  |  | cc959f6c-fd26-48f7-94e2-69043920c974
All Units | Offshore Travel | • Unexpected events/emergencies • Fatigue •Medical illness or injury | Medium | Administrative University Travel website providing relevant information (including "Important travel news" and"Travel Advisories") Business Travel Request process required by all UniSA travellers Emergency travel assistance available to UniSA Travellers. Travel innoculations avauialbel through UniSA Medical clinic. Student Mobility Policy and Procedures including new risk assessment & approval process |  |  | UniSA - Travel Guidleines (2020) Critical Incident Managment Procedure Travel and Offshore Risk Assessment (WHS14) WHS73A Study overseas health & safety acknowledgement | Low | 2015-05-01 | RAS |  |  | d99926e3-ab51-48d4-93e2-288de8f489e2
All Units/FMU | Noise | • Distracting/nuisance noise • Noise impact on surrounding work areas • Noise greater than the exposure standards • Work induced hearing loss (Deafness) | Low | Administrative Hazard managment and risk assessment process FMU and S&W Consultants availabe to review Engagement of external SME's to conduct noise monitoring when required Ability to enage external expert contractors SOP and PPE for use of noisy equipmnet | Work Health and Safety Act 2012 SA Work Health and Safety Regulations (2012) | Code of Practice - Managing Noise and preventinh Hearing Loss at Work 2015 |  | Low |  |  |  |  | 539368c8-ade4-433b-b7fd-c86634961f59
Academic Units | Plant & Machinery | • Lack of operator competency/training/licence • Unassessed plant and equipment • Lack of/inappropriate guarding • Unrestricted access • Poor management of plant eligable to be registered • Poorly maintained plant • Plant maintenance and other non-routine activities: stored energy, entrapment, malfunction • Poor ergonomic design: unintuitive operational control, difficult to operate, noisy, awkward postures when operating, high force exertion • Inappropriately used • Inappropriately located eg. inadequate lighting making it difficult to see, impacting adversely on surrounding activities, unstable footing • Operated in inappropriate environment • Falling objects (including unpiloted craft eg. drones) | High | Engineering • guards on moving parts • auto stops where appropreiate Training • Plant and Equipment Safety Learn Online Module (NCO8896) • Training on specific pieces of plant Administrative • Service and Maintenance Schedule • Workshop Inductions and limited access to those that require it • Safe Operating Procedures • Plant registration with SafeWork as required | Work Health and Safety Act 2012 | Code of Practice - Managing the risk of plant in the workplace June 2020 | • Managing Workplace Health and Safety Risks Procedure • Plant and Equipment Risk Assessment (WHS41) identifiying risks associated wiht plant and it's location • Plant Register Form (WHS40) • Project Proposal Safety Authorisation Form (WHS70) • Plant and Equipment pre-purchase Checklist (WHS79) completed and risks identified prior to purchase | Low | 2018-01-09 | Safety & Wellbeing Team |  |  | 2d9236d2-7eaa-4ff3-963b-2c0a529f414c
Radiation Safety Committee; University Radiation Safety Officer | Radiation inclusive of High Powered Lasers | Radiation is a form of energy transmitted either as electromagnetic waves or as particulate matter. Ionising Radiations have enough energy to ionise the matter through which they pass and have the potential to cause serious health effects, including cancer, if misused. Non-ionising Radiations generally have less potential to cause serious health effects than ionising radiations their health effects are mainly due to internal body heating and induced electric currents. | High | • University Radiation Safety Officer • Ionising Radiation Policy (HR29) • Non-ionising Radiation Safety Policy (HR30) • Radiation Protection Guideline Series (Radiation Safety Manual) • Radiation Safety Committee • Departmental Radiation Safety Officers • Research Proposal Requiring radiation (WHS22) • Radiation Worker Registration (WHS54) • Radiation Unsealed Substances Register (WHS55) • Sealed Radioactive Source Purchase Form (WHS56) • Radiation Safety Clearance Form (WHS57) • Radiation DRSO Report (WHS62) • Radiation Audit Checklist (WHS63) • Ionising Radiation Apparatus Purchase (WHS68) • Ionising Radiation and Research Learn Online Module • Transport Consignments of Radioactive Material • Historian online database • Licencing • Registration of sources of ionising radiation with EPA • Licences for handlers of isonising radiation • Safe Management of Chemicals Procedure • Requirement for Type C Laboratories Guideline | Radiation Protection and Control Act 1982 Radiation Protection and Control (Ionising Radiation) Regulations 2015 Radiation Protection and Control (Transport of Radioactive Substances) Regulations 2018 Radiation Protection and Control (Non-Ionising Radiation) Regulations 2013 | Code of Practice for the Exposure of Humans to Ionizing Radiation for Research Purposes (2005) Code for Radiation Protection in Medical Exposure (2019) Code for Radiation Protection in Planned Exposure Situations (2020) | Ionising Radiation (HR-29) Non-ionising radiation safety (HR-30) Radiation Protection Guideline Series (Radiation Safety Manual) | Low | RADIATION SAFETY PRACTICES AUDIT - Aug. & Nov. 2020 | Departmental Radiation Safety Officers |  |  | 03fd01ef-7e2e-405d-ba80-c369159dbf6e
PTC | Sexual Assault or Harassment | • Students/staff may be exposed to incidents of sexual harrasement from fellow students / staff | Medium | Training • Training and awareness modules for all staff • Trained First Responders Administrative • Sexual Assault & Sexual Harassment Policy & Procedures • SASH website and supporting information • Support services • Reporting process via SASH • Safe Zone |  |  | https://i.unisa.edu.au/siteassets/human-resources/ptc/files/guidelines/guides/rna.pdf | Low | ??? | ??? | ??? |  | 1a9f1a78-4a0e-481a-bd93-54904ff71ca4
All Units | Slips Trips & Falls | • Staff and students may incur injury if they slip or trip in the workplace | Low | Training • Slips Trips and Falls Learn Online Module (NCO8853) Administrative • Risk assessments cmpleted to identify slips and trips in the workplace so that they can be mitigated to prevent incident • Fact Sheet - Slips Trips and Falls (SafeWork Australia) • Workplace Inspection process (hazard id & control) • Incident reporting and investigation procedure |  |  | Risk Assessment General -Template (WHS02) | Low |  |  |  |  | 822bbcd2-9665-4b3d-9f8b-7eeb5f7946ab
Units as applicable | Work Integrated Learning | • Placements Students in buildings/locations not controlled by the University | Medium | Training • Student Placement/ Work Experience Health & Safety Guideline Administrative • Student Placement Risk Assessment (WHS75) • Awareness module - Undertaking a Safe Student Placement. • UniSA Work Integrated Learning Unit (WIL) . • InPlace platform |  |  | https://i.unisa.edu.au/siteassets/students/health/documents/cpu/passport/WHS_Checklist.pdf. InPlace Platform | Low |  |  | 2019-11-01 |  | 166f4fd4-bb05-4237-a006-604f65f5ecfc
Units as applicable | Working Alone or In Isolation | Absence of availability of others for assistance and support: during an activity, for first aid and emergencies • Increased severity/consequence from an incident • Reduction in emergency assistance and support • Absence of or distant supervision | Medium | Administrative • Working Alone or in Isolation Procedure • Authorisation for Working Alone or in Isolation (WHS 47) • SafeZone App | model-whs-regulations - regulation 48 | Model Code of Practice: Managing the Work Environment and Facilities (refer section 4.2 – Remote or isolated work) | Working Alone or in Isolation Procedure | Low | 2016-05-01 |  |  |  | 34b798d5-3334-4dd8-b864-b14dc827cd2f
FMU | Accomadation | • in rural areas, unfamiliar with environment: bush fire, flooding, animals, isolation • General shared facilities: conflict, impairment (alcohol/other), noise, property damage/loss, laundromat facilities • Using communal kitchen: fire, injury, spilt food/liquids • Uncontrolled personal items: chemicals, electrical equipment, prohibited weapons • Contractors: working in and around facilities, managing facilities | Medium | Training • Warden training • Emergency training (evacuation drill) • Local induction Administrative • First aid procedures • Scheduled electrical testing and tagging. • Scheduled accommodation inspection and maintenance • Scheduled servicing of infrastructure and equipment/plant • Provision of information in “Accommodation Handbook’ • Contractor management |  |  |  | Low |  |  |  |  | e00048a6-e994-4224-83d1-0023f18114c3
High risk laboratory environments | FRIDGES/FREEZERS -80, -20, 4 deg freezers/fridges Spark Proof Fridges and Freezers | Cold items received (deliveries) Sample integrity Freezer burns | High | Isolation control - Spark Proof Fridges and Freezers for chemicals Engineering - Gallagher - CEMS - Security alarm - Local Area Alarm - Essential Power for high value cold storage devices (Generator) Administrative - UniSA Cold Storage Policy - SOPs and RAs - Isolation of services form to shunt CEDs - Alarm response flow chart for relocation of contents - WHS Inspections and spot checks - Bunding trays for chemicals - Safety Signage, no food or drink stickers. - FM: Interact Controlled Environment Devices - Freezer Pro - Maintenance servicing by external company and reports (annual servicing for monitored CEDs). PPE Lab gown, safety glasses, gloves, cryogenics gloves, closed shoes Training - Fridge/Freezer Alarm Response Training |  | Code of Practice for the Storage & Transport of Drugs of Dependance 2012. Code of Practice for managing risks of hazardous chemicals in the workplace 2018. | [6 empty] | 0933aee6-fdac-4bb1-9bc7-a6a07e78b69c
Note on M16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The comments section on Contractors is now out of date. The tense could be corrected to reflect the current status.

## UniSA WHS Hazard Register
|  | UniSA WHS Hazard Register | Note - This document maps the University's hazards grouped into hazard types against action taken to eliminate or mitigate risk
Last update: Work in Progress as at November 2023
Key Units | Category | Description of Hazard/Risk | Inherent Risk Rating | Controls | Applicable Legislation | Standards / Codes of Practice | UniSA Policies and Procedures | Residual Risk | Last Audit Date | Auditor | Last System Review Date | Comments
FMU | Air Quality -Indoor | • Poor thermal comfort • Inadequate Ventilation •Air quality contamination due to accidental emissions | Medium | Engineering Building Management Systems Maintenance of building ventilation and extraction systems Administrative Occupational Hygiene Assessment as Required Worksite inspections | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | AS/NZS 1668 (series) The use of ventilation and air conditioning in buildings | WHS Procedure- Managing Workplace Health and Safety Risks | Low
CAF | Animal Work | • Compassion Fatigue • Infectious animals (Bites, scratches) • Animals escaping enclosures •Manual handling (refer to Manual Handling Section) • Animal waste • Pathogens • Infection • Needlestick injuries • Anaesthetics • Exposure to cytotoxic drugs • Sharps / scalpels • Biological material exposure | High | Isolation - Restricted Access control to Level 12 CAF, Gilles Plains Facility and Lab areas Engineering - Local exhaust (nedermann arms) for working with anaesthetics - Oxygen monitors - Demarcated gowning area/barrier - Airlock Administrative - RA and SOP - CAF Induction Handbook - UniSA Animal Ethics application (safety and wellbeing control for animals) - Biosafety application - Vaccinations - Induction and Training Records - Technical servive team inspections PPE - Lab gowns, safety glasses, gloves, closed shoes - Mask fit testing Training - Practical training and induction by CAF team - Compassion Fatigue Training - organised by CAF - Animal handling training delivered by CAF, will not grant access until user is deemed competent in animal injecting. - Biological safety training (Refer to Section on Biological) | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) •Gene Technology Act (2000) •Gene Technology Regulations (2001) | • AS/NZS 2243.3.2022 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes | WHS Guideline Communicable Diseases (2020) WHS Guideline - Personal Protective Equipment (2020) IBC Communicable Diseases and Immunisation Guidelines IBC_CDIG_3 (2020) WHS Procedure – Managing workplace health and safety risks (2020) WHS Procedure – Hazard/Incident Reporting & Investigation (2020) | Low
FMU | Asbestos | Exposure to asbestos and asbestos containing material in the workplace Lung cancer & mesothelium from inhalation of ariborne asbestos fibres Exposure to naturally occurring asbestos (i.e. rock samples in geology, contaminated soils in reseearch) | Medium | Substitute Removal by licenced contractors only Engineering Maintain naturally occurring asbestos in its natural state Administrative Asbestos Management Plan Asbestos Registers Non-invasive reinspections by competent person Intrusive/ destructive pre-demolition or refurbishment survey Annual removal program Permit to Work and Asbestos Testing and Change Summary/ Asbestos Clearance Certificate Air monitoring during removal works Warnings signs and labelling Contractor Management | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | •How to manage and control asbestos in the workplace Code of Practice (Safework SA June 2020) •How to safely remove asbetos Code of Practice (Safework SA June 2020) | Asbestos Management Plan V1.1 (June 2020) Using Asbestos Register - FM-PROC-086 | Low
IBC | Biological hazards | Pathogen exposure or contamination (bacteria/virus/prion/fungus) Genetically modified organisms (GMO) Release of biological agent into uncontrolled environment Import and export of biologically hazardous materials Infectious wastes Working with animals (see section on “Animal Work”) | Medium | Isolation Containment laboratories with Restricted Access Engineering Engineering Controls (Biosafety Cabinets) Administrative Institutional Biohazards Committee Risk Assessments Safe Operating Procedures Laboratory induction Scheduled workplace inspections Hazardous waste disposal procedures Biological safety working group Training Biosafety online learning module Biosafety seminar | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) •Gene Technology Act (2000) •Gene Technology Regulations (2001) | • AS/NZS 2243.3 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes | WHS Guideline Communicable Diseases (2020) WHS Guideline - Personal Protective Equipment (2020) Policy - Biological Hazards and Genetically Modified Organisms RES-4.3 (2008) IBC Communicable Diseases and Immunisation Guidelines IBC_CDIG_3 (2020) WHS Procedure – Managing workplace health and safety risks (2020) WHS Procedure – Hazard/Incident Reporting & Investigation (2020) UniSA Biosafety Manual (2018) | Low
PTC | Bullying & Harassment | Exposure to bullying and harrassment in the workplace to staff or students. | Medium | Administrative PTC website quick guides Employee assistance program SafeZone Discrimination and Harassment Grievance procedure Code of Ethical Conduct Discrimination and Harassment Grievance Procedures Recognising and Managing Workplace Bullying Guide Treating People with Respect: A Good Practice Guide SASH website, guide and reporting process Training Respectful Behaviours Learn Online Module Dealing with Challenging student behaviour. | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | Note - Psychosocial Regulation & CoP, release date December 2023 in SA |  | Low
UCASC; University Chemical Safety Officer | Chemicals | Exposure to chemicals through inhalation, skin/eye contact, injection or ingestion can cause acute and/or chronic acute health effects. Examples of chemicals with health hazards include toxic chemicals (poisons), carcinogens (cancer-causing chemicals) and reproductive toxins (chemicals which may cause infertility or birth defects). Physical hazards due to the properties of a chemical that can result in immediate injury to people or damage to property if inappropriately handled. Exmaple of physical hazrads include flammable, corrosive, explosive, chemically-reactive and oxidising chemicals. | High | Purchasing and Safety processes Safe management of Chemicals processes University Chemical Advisory Safety Committee (UCASC) approval process MyOSH Chemical risk assessment system Chemwatch Gold FFX - chemical registers and chemical safety data sheets Induction and training online and face to face Chemical Safety LearnOnline Modules Laboratory safety manuals Laboratory inspection process Chemical process risk assessments Chemical labelling Chemical stores and cabinets Chemical incompatibility reports Chemical spills management processes and kits Safety signage and placards Maintenance of engineering Controls - E-stops, gas alarms, safety showers/eye wash units, fume extraction, fume cupboards, gloveboxes, trolleys Controlled Substances Permits for the University (schedules 2 to 7) and individual users (Schedule 8 & 9) and usage logs Dabgerous Substances licences (campus based) Prohibited and Restricted Carcinogens licences Licence to store dangerous goods for each campus Chemical Reproductive Hazards Guideline Lead Risk Work Guideline Safe use of liquid nitrogen (and other cryogenic fluids) Guideline Working Safely with engineered nanoparticles Manual | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) • Dangerous Substances Act (1979) • Dangerous Substances Regulations (2017) • Controlled Substances Act (1984) Controlled Substances Regulations (2014) | •Managing Risks of Hazardous Chemicals in the Workplace Code of Practice (Safework SA June 2020) •Labelling of workplace hazardous chemicals Code of Practice (Safework SA June 2020) •Preparation of safety data sheets for hazardous chemicals Code of Practice (Safework SA June 2020) •Spray painting and powder coating Code of Practice (Safework SA June 2020) •Welding processes Code of Practice (Safework SA June 2020) •AS/NZS 1596 The storage and handling of LP Gas •AS 1940 The storage and handling of flammable and combustible liquids •AS 2030 Gas cylinders •AS2243.2 Safety in laboratories Part 2: Chemical aspects and storage •AS 2714 The storage and handling of organic peroxides •AS/NZS 2982 Laboratory Design and Construction •AS 3780 The storage and handling of corrosive substances •AS/NZS 3833 The storage and handling of mixed classes of dangerous goods •AS/NZS The storage and handling of isocyanates •AS 4326 The storage and handling of oxidizing agents •AS/NZS 4452 The storage and handling of toxic substances AS/NZS 5026 The storage and handling of Class 4 dangerous goods | Safe Management of Chemicals Procedure (February 2020, v3.4) Controlled Substances - Management of Regulated Chemicals Procedure (March 2020, v1.2) | Medium | WHS Internal Audit Report - Safe Management of Chemicals - December 2021 | Lawson Risk Management Services
IBC and S&W | Infectious communicable diseases | Exposure to communicable diseases via teaching or research activities | Medium | Administrative Federal and State Government direction and controls Communicable diseases and Immunisation Guidelines incorporating Vaccination process University Emergency Crisis Cache | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | • AS/NZS 2243.3 Safety in laboratories – Microbiological aspects and containment facilities • AS/NZS 3816 Management of clinical and related wastes |  | Low
FMU | Confined spaces (Refer to restricted access spaces) | • Unrestricted access to confined spaces • Inadequate risk assessment of confined space • Inadequate identification of confined space • Poorly ventilated workplaces • Unqualified / non-competent people entering confined spaces •Lack of appropriate access / egress points | High | Substitute •Only external contractors deemed competent will enter a confined space Administrative •FMU managed confined space register •Confined space signage •Audits and certification of spaces conducted by an external provider | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Part 3, Confined Spaces | •Confined Spaces Code of Practice (SafeWork SA June 2020) •Australian Standard, Worksafe Australia National Standard, Safe Working in a Confined Space - AS 2865-1995 • AS1319: 1994 Safety signs for the occupational environment • AS/NZS 1715: 2009 Selection, use and maintenance of respiratory protection devices • AS/NZS 1716: 2012 Respiratory protection devices •Confined/Restricted Space Risk assessment (WHS35) Confined Space Entry Permit (WHS36) •Contractor Permit to Work (WHS27) •Hot Work Permit (WHS38) | • WHS35 Confined Space/Restricted Space Procedure •WHS27 Permit to work •WHS36 Confined space entry permit | Low
FMU | Contractor Work | • Unfamiliar with UniSA health and safety procedures • Work that adversely impacts on the UniSA environments and/or staff/students • Conducting work unsafely or in conflict UniSA's procedures • High risk and/or specialised tasks • Introduced hazards into the workplace | High | Training •Learn online Contractor Safety module Administrative •Spot checks conducted by FMU of contractors on site to determine safe systems of work and compliance with UniSA procedures •Contractor sign in and induction protocols | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Chapter 3, General Risk and Workplace Management | • How to manage Work Health and Safety Risks Code of Practice (SafeWork SA June 2020) | •Contractor Management Procedure •Contractors Engaged Locally Guideline •Contractor Permit to Work (WHS 27) •Contractor Safety Induction Checklist (WHS28) •Contract Mobilisation Checklist (WHS28a) •Contractor Safety Evaluation Checklist (WHS76) •Contractor Site Observation Checklist (WHS77) •Contractor risk assessments and Standard Operating Procedures | Medium | 2015-08-20 | Risk and Assurance Services
FMU | Driving | • Unsafe driving behaviours: − speeding − hooning −impairments, alcohol / drugs , fatigue - inexperienced,distance,environment | High | Substitute •External Contractors for Driving Services Administrative •Driving Safely Learn Online Module •Appropriate licence for particular vehicles •Heavy Vehicle Driver Fatigue Regulations •University level risk assessment •Driving Vehicles While Working Risk Management Form - WHS06 •Vehicle fleet managed by FMU •External 4WD course | • Australian Road Rules | • Managing the Work Environment and Facilities Code of Practice (SafeWorkSA June 2020) | • Fieldwork Safety WHS Procedure | Low | 2016-11-01 | HS&IM Committee review of effectiveness of program
FMU | Electricity | • Use of faulty equipment/appliances • Use of uncertified electrical equipment/appliances • Incorrect and/or faulty electrical installation • Use electrical equipment/appliances that do not meet relevant Standards and Codes | High | Isolation • RCD protection Substitute • Work conducted by licenced electricians only Administrative • Certificate of competence for internal testers • Electrical Equipment Register (WHS25) | •South Australia Work Health and Safety Regulations (2012) - Division 7, General electrical safety in workplaces and energised electrical work | • Managing Electrical Risks in the Workplace Code of Practice (SafeWorkSA June 2020) | • In Service Inspection and Testing of Electrical Equipment Procedure • Incident notifications to Office of Technical Regulator | Medium
FMU | Emergencies | • Uncontrolled emergency incident leading to adverse outcomes: − loss of life − injury or illness − property damage − continued unsafe environment • Loss of communication • Breakdown in emergency procedures • Failure to identify critical incident • Uncontrolled critical incident leading to adverse outcomes: − human life, safety and wellbeing − animal life, safety and wellbeing − environmental protection − the protection of property interests; | High | Training Emergency Awareness Management Module Emergency Control Organisation Trained Wardens Administrative Campus Response Team Campus Management Advisory Groups Evacuation Drills and post evacuation reports Induction processes Personal Emergency Evacuation Plans Strategic Crisis Management Team Emergency Management Committee Emergency Response Offshore Crisis Communications SafeZone App | •South Australia Work Health and Safety Regulations (2012) - Division 4, Emergenciy Plans | • Managing the Work Environment and Facilities Code of Practice (SafeWorkSA June 2020) | •FMU Emergency procedures •Students at Risk Toolkit •First Aid in the Workplace Procedure • WHS82 Personal emergency evacuation plan | Medium | 2016-12-19 | FMU External Fire Systems
FMU | Events | • Equipment hire •Unknown and introduced risks • Large numbers of people/public (COVID concerns) •Inadequate capacity venue •Uncontrolled events • One-off events • Inappropriate behaviours • Traffic hazards • Consumption of alcohol | Medium | Administrative Activities individually risk assessed at local level WHS9 Public Events Risk Management guidance for event co-ordinators Security arrangements | South Australian Liquor Licensing Act (1997) | •SafeWorkSA Event Safety Management Information (2018) •Guidelines for the Management of Public Health and Safety at Events produced by SA Health •Safe and Healthy Mass Gatherings produced by Emergency Management Australia. •AS/NZS ISO 31000:2009 Risk Management – Standards Australia. | • Application process for a short term liquor licence (FMU Intranet) • Appian Functions Booking request • Public events risk management template (for completion of local level risk assessment) | Low
Units as applicable | Fieldwork | •Remote locations • Isolated work • Field work activities • Driving long distances and in unfamiliar environments • Inadequate communication •Working outdoors in the natural elements • Unexpected events/emergencies • Increased risk of slips, trips, falls •Interaction with flora and fauna • Being in, on or near water • Manual tasks • Fatigue | High | Engineering first aid kits and fire extinguishers in vehicles (to be checked) Location Monitoring apps Training Driver Training Staff first aid trained Administrative Pre-planning of trips, including checking of weather conditions (eg: bushfire zones / catastropic fire warnings) Call-in / check in protocols |  |  | •Fieldwork Safety Procedure (inc risk assessment) •Fieldwork and Medical Acknowledgement (WHS73) •Fieldwork Information Notice (WHS72) •Fieldwork Detail Form (WHS71) •Fieldwork Assessment Tool (UniSA STEM) • On-call staff rostered for check-ins by remote team (UniSA STEM) | Low | 2013-09-04 | Service Transformation Office
FMU | Gases | • Hydrogen gas • Nitrogen gas • Natural gas • Flammable refrigerant gases | High | Engineering Gas Lines and Manifolds Gas Detection Systems External gas cages to restrict access Training Swagelok University Outreach Training | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) - Section 72 - Flammable Gases and Vapours (in relation to gases in confined spaces), Division 8 - Hazardous Atmospheres, Division 9 - Storage of Flammable or Combustible Substances, Chapter 5, Section 224, Pressure Equipment | AS 2030.1:2009 (Gas cylinders—General requirements) Workplace exposure standards for airbone contaminants (WES list) CoP Managing risks of hazardous chemical in the workplace - Divison 2.1 Flamable gases Australian Dangerous Goods Code. |  | Medium
Academic & central Units (eg: CTV, STEM, FMU) | Work at Heights i.e., ladders, elevated work platforms | • Working close to an unprotected edge • Unsuitable working environment: − slippery, brittle roof − faulty anchor points − adverse weather conditions • Falling objects • Inappropriate use of access and/or fall arrest equipment: − ladders − scaffold − elevated work platform − harnesses and lanyards − Fieldwork scenarios | Medium | Engineering Tie in and or anchor points Training Appropriate Training and Licensing (where required) Working Safely at Heights online module (under development) Administrative Work at Heights Risk Assessment WHS 78 Appropriate Training and Licensing (where required) Standard Operating Procedures Scheduled inspections / servicing / certification of EWPs, harnesses and other associated equipment such as anchor points on structures Contractor engagement process and checking of working at heights training evidence | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | • Code of Practice - Managing the risk of falls at the workplace • Information sheet: Safe Work Method Statement for Construction work • Safework Australia Guide to inspecting and maintaining EWP • Safework Australia Guide to managing the risks of EWP | WHS Procedure: Managing Workplace Health and Safety Risks WHS Procedure: Contractor Safety WHS 27 Permit to Work | Low
FMU and Units as applicable | High Risk Work i.e. Scaffolding, Rigging, Cranes, Forklifts | Contratctors can be engaged by UniSA to undertake a vareity of work classisfied as High Risk Work | Medium | Contractor engagement process Risk assessment process (WHS2) Scheduled servicing and maintenance Appropriate training and licensing Standard Operating Procedures | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | General guide for scaffolds and scaffolding work. Safework Australia | WHS Procedure: Managing Workplace Health and Safety Risks WHS Procedure: Contractor Safety | Medium
All Units | Manual handling | Hazardous manual handling activities that include the following characteristics: − repetitive or sustained application of force − repetitive or sustained awkward posture − repetitive movement − application of high force − exposure to sustained vibration − handling of a person or an animal − handling of unstable / unbalanced loads or loads which are difficult to grasp / hold • Factors resulting in musculoskeletal disorders or other injuries include: − poor workplace design − poor work designs − poor job practices | Low | Training Manual Handling Safety Learn Online Module Administrative Hazardous Manual Tasks - Management Guideline Risk assessment process (WHS2) | •South Australia Work Health and Safety Act (2012) •South Australia Work Health and Safety Regulations (2012) | Code of Practice - Hazardous manual tasks | WHS Guideline - Hazardous Manual Tasks | Low
All Units | Mental Illness | Psychosocial hazards may result from • high or low job demands; violence and aggression; • Harassment and sexual harassment; bullying; • conflict or poor workplace relationships and interactions • lack of role clarity ; poor organisational change management • inadequate reward and recognition • poor physical environment; remote work or isolation; • traumatic events. | Medium | Training Learnonline BUPA Mental Wellbeing modules Accredited mental health first aid course offered to staff annually Administrative Mental Health and Wellbeing Guideline Employee Assistance Program including Manager Assist UniSA Counselling Service for students UniSA Psychology Clinic UniSA Health Medical Clinics PTC Psychological Hazard Management webpage Priority action in WHS Local Action Plans |  | Managing Psychosocial Hazards at Work - Code of Practice - Psychological Hazards National guidance material. Work-related psychological health and safety. A systematic approach to meeting your duties. Note - Due for release n SA December 2023 |  | Low
All Units | Office & screen-based work | Risk of development of musculo-skeletal disorder Risk of extended sitting and lack of activity | Medium | Engineering The Ergo Centre Training Office Ergonomics online awareness module Administrative Workstation Self Assessment - Appian S&W Consultation support WorkPace Ergonomic Software provided where required WHS Guidelines for ergonomic software and for sit/ stand workstations Voice Activated Software (Dragon) available to support staff |  |  |  | Medium
All Units | Offshore Travel | • Unexpected events/emergencies • Fatigue •Medical illness or injury | Medium | Administrative University Travel website providing relevant information (including "Important travel news" and"Travel Advisories") Business Travel Request process required by all UniSA travellers Emergency travel assistance available to UniSA Travellers. Travel innoculations avauialbel through UniSA Medical clinic. Student Mobility Policy and Procedures including new risk assessment & approval process |  |  | UniSA - Travel Guidleines (2020) Critical Incident Managment Procedure Travel and Offshore Risk Assessment (WHS14) WHS73A Study overseas health & safety acknowledgement | Low | 2015-05-01 | RAS
All Units/FMU | Noise | • Distracting/nuisance noise • Noise impact on surrounding work areas • Noise greater than the exposure standards • Work induced hearing loss (Deafness) | Low | Administrative Hazard managment and risk assessment process FMU and S&W Consultants availabe to review Engagement of external SME's to conduct noise monitoring when required Ability to enage external expert contractors SOP and PPE for use of noisy equipmnet | Work Health and Safety Act 2012 SA Work Health and Safety Regulations (2012) | Code of Practice - Managing Noise and preventinh Hearing Loss at Work 2015 |  | Low
Academic Units | Plant & Machinery | • Lack of operator competency/training/licence • Unassessed plant and equipment • Lack of/inappropriate guarding • Unrestricted access • Poor management of plant eligable to be registered • Poorly maintained plant • Plant maintenance and other non-routine activities: stored energy, entrapment, malfunction • Poor ergonomic design: unintuitive operational control, difficult to operate, noisy, awkward postures when operating, high force exertion • Inappropriately used • Inappropriately located eg. inadequate lighting making it difficult to see, impacting adversely on surrounding activities, unstable footing • Operated in inappropriate environment • Falling objects (including unpiloted craft eg. drones) | High | Engineering • guards on moving parts • auto stops where appropreiate Training • Plant and Equipment Safety Learn Online Module (NCO8896) • Training on specific pieces of plant Administrative • Service and Maintenance Schedule • Workshop Inductions and limited access to those that require it • Safe Operating Procedures • Plant registration with SafeWork as required | Work Health and Safety Act 2012 | Code of Practice - Managing the risk of plant in the workplace June 2020 | • Managing Workplace Health and Safety Risks Procedure • Plant and Equipment Risk Assessment (WHS41) identifiying risks associated wiht plant and it's location • Plant Register Form (WHS40) • Project Proposal Safety Authorisation Form (WHS70) • Plant and Equipment pre-purchase Checklist (WHS79) completed and risks identified prior to purchase | Low | 2018-01-09 | Safety & Wellbeing Team
Radiation Safety Committee; University Radiation Safety Officer | Radiation inclusive of High Powered Lasers | Radiation is a form of energy transmitted either as electromagnetic waves or as particulate matter. Ionising Radiations have enough energy to ionise the matter through which they pass and have the potential to cause serious health effects, including cancer, if misused. Non-ionising Radiations generally have less potential to cause serious health effects than ionising radiations their health effects are mainly due to internal body heating and induced electric currents. | High | • University Radiation Safety Officer • Ionising Radiation Policy (HR29) • Non-ionising Radiation Safety Policy (HR30) • Radiation Protection Guideline Series (Radiation Safety Manual) • Radiation Safety Committee • Departmental Radiation Safety Officers • Research Proposal Requiring radiation (WHS22) • Radiation Worker Registration (WHS54) • Radiation Unsealed Substances Register (WHS55) • Sealed Radioactive Source Purchase Form (WHS56) • Radiation Safety Clearance Form (WHS57) • Radiation DRSO Report (WHS62) • Radiation Audit Checklist (WHS63) • Ionising Radiation Apparatus Purchase (WHS68) • Ionising Radiation and Research Learn Online Module • Transport Consignments of Radioactive Material • Historian online database • Licencing • Registration of sources of ionising radiation with EPA • Licences for handlers of isonising radiation • Safe Management of Chemicals Procedure • Requirement for Type C Laboratories Guideline | Radiation Protection and Control Act 1982 Radiation Protection and Control (Ionising Radiation) Regulations 2015 Radiation Protection and Control (Transport of Radioactive Substances) Regulations 2018 Radiation Protection and Control (Non-Ionising Radiation) Regulations 2013 | Code of Practice for the Exposure of Humans to Ionizing Radiation for Research Purposes (2005) Code for Radiation Protection in Medical Exposure (2019) Code for Radiation Protection in Planned Exposure Situations (2020) | Ionising Radiation (HR-29) Non-ionising radiation safety (HR-30) Radiation Protection Guideline Series (Radiation Safety Manual) | Low | RADIATION SAFETY PRACTICES AUDIT - Aug. & Nov. 2020 | Departmental Radiation Safety Officers
PTC | Sexual Assault or Harassment | • Students/staff may be exposed to incidents of sexual harrasement from fellow students / staff | Medium | Training • Training and awareness modules for all staff • Trained First Responders Administrative • Sexual Assault & Sexual Harassment Policy & Procedures • SASH website and supporting information • Support services • Reporting process via SASH • Safe Zone |  |  | https://i.unisa.edu.au/siteassets/human-resources/ptc/files/guidelines/guides/rna.pdf | Low | ??? | ??? | ???
All Units | Slips Trips & Falls | • Staff and students may incur injury if they slip or trip in the workplace | Low | Training • Slips Trips and Falls Learn Online Module (NCO8853) Administrative • Risk assessments cmpleted to identify slips and trips in the workplace so that they can be mitigated to prevent incident • Fact Sheet - Slips Trips and Falls (SafeWork Australia) • Workplace Inspection process (hazard id & control) • Incident reporting and investigation procedure |  |  | Risk Assessment General -Template (WHS02) | Low
Units as applicable | Work Integrated Learning | • Placements Students in buildings/locations not controlled by the University | Medium | Training • Student Placement/ Work Experience Health & Safety Guideline Administrative • Student Placement Risk Assessment (WHS75) • Awareness module - Undertaking a Safe Student Placement. • UniSA Work Integrated Learning Unit (WIL) . • InPlace platform |  |  | https://i.unisa.edu.au/siteassets/students/health/documents/cpu/passport/WHS_Checklist.pdf. InPlace Platform | Low |  |  | 2019-11-01
Units as applicable | Working Alone or In Isolation | Absence of availability of others for assistance and support: during an activity, for first aid and emergencies • Increased severity/consequence from an incident • Reduction in emergency assistance and support • Absence of or distant supervision | Medium | Administrative • Working Alone or in Isolation Procedure • Authorisation for Working Alone or in Isolation (WHS 47) • SafeZone App | model-whs-regulations - regulation 48 | Model Code of Practice: Managing the Work Environment and Facilities (refer section 4.2 – Remote or isolated work) | Working Alone or in Isolation Procedure | Low | 2016-05-01
FMU | Accomadation | • in rural areas, unfamiliar with environment: bush fire, flooding, animals, isolation • General shared facilities: conflict, impairment (alcohol/other), noise, property damage/loss, laundromat facilities • Using communal kitchen: fire, injury, spilt food/liquids • Uncontrolled personal items: chemicals, electrical equipment, prohibited weapons • Contractors: working in and around facilities, managing facilities | Medium | Training • Warden training • Emergency training (evacuation drill) • Local induction Administrative • First aid procedures • Scheduled electrical testing and tagging. • Scheduled accommodation inspection and maintenance • Scheduled servicing of infrastructure and equipment/plant • Provision of information in “Accommodation Handbook’ • Contractor management |  |  |  | Low
High risk laboratory environments | FRIDGES/FREEZERS -80, -20, 4 deg freezers/fridges Spark Proof Fridges and Freezers | Cold items received (deliveries) Sample integrity Freezer burns | High | Isolation control - Spark Proof Fridges and Freezers for chemicals Engineering - Gallagher - CEMS - Security alarm - Local Area Alarm - Essential Power for high value cold storage devices (Generator) Administrative - UniSA Cold Storage Policy - SOPs and RAs - Isolation of services form to shunt CEDs - Alarm response flow chart for relocation of contents - WHS Inspections and spot checks - Bunding trays for chemicals - Safety Signage, no food or drink stickers. - FM: Interact Controlled Environment Devices - Freezer Pro - Maintenance servicing by external company and reports (annual servicing for monitored CEDs). PPE Lab gown, safety glasses, gloves, cryogenics gloves, closed shoes Training - Fridge/Freezer Alarm Response Training |  | Code of Practice for the Storage & Transport of Drugs of Dependance 2012. Code of Practice for managing risks of hazardous chemicals in the workplace 2018.
Note on M16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The comments section on Contractors is now out of date. The tense could be corrected to reflect the current status.

## Risk Matrix
Risk Matrix |  | Consequence
|  | Insignificant | Minor | Moderate | Major | Catastrophic
|  | Near Miss | First Aid | Medical Treatment < 2 days lost | Medical Treatment > 2 days lost | Death or permanent injury
|  | Not life altering | Not life altering | Temporary effect on life | Permanent effect on life
Likelihood | Very Likely | Low | High | Very High | Extreme | Extreme
Almost Certain
| Likely | Low | Medium | High | Very High | Extreme
Strong Possibility
| Possible | Low | Medium | Medium | High | Very High
Once a Year
| Unlikely | Low | Low | Medium | High | Very High
Once in 3 years
| Highly Unlikely Rare | Low | Low | Low | Medium | High
SafeWork SA Risk Matrix June 2020

## List of Values
Risk Assessment Level
University
Subject Matter Expert
Local Unit
Control Measures
Elimination
Isolation
Substitution
Engineering
Training
Administration
PPE
Inherent Risk
High
Medium
Low
Very Low
Residual Risk
High
Medium
Low
Very Low
Management Actions
Allocation of resources
Awareness of hazards
Incident reporting
Consultation
Workplace inspections
Risk Assessments
Work station assessments
WHS advisory service
Permits and licences
Training
Policy procedure & guidelines
Risk Assessment Conducted Yes or No
Yes
No