Contract Supervisor to complete Section 1 prior to work being conducted.

Display this form at FM Assist:

| Section 1: Application for Fire System Impairment |
| --- |
| Campus |  | Date: |  |
| Applicant Name: |  | Ph: |  |
| Applicants Employer |  | Email: |  |
| Location of affected area Building/Room No: |  |
| Expected Impairment Date/Time: |  |
| Expected Reinstatement Date/Time: |  |
| Type of Impairment | Smoke/Thermal Detector |  | Campus Water Supply |  |
|  | Town Mains Supply |  | Gas Suppression System |  |
|  | Sprinkler System |  | VESDA |  |
|  | FIP/EWIS |  | Fire Pump/Main |  |
| Reason for Impairment: | Testing |  | Maintenance |  |
|  | Repair |  | Construction |  |
|  | Other (Describe) |  | Dust/Steam |  |
| Provide details of shutdown and work being conducted |  |
| Valve/Circuit/Detector Numbers: |  |
| Precautions to be followed | Use Shut off tag |  | Notify area Supervisor |  |
|  | Cease hazardous operations |  | Hose/Extinguishers available |  |
|  | Ban welding/cutting/hot work |  | No smoking |  |
|  | Notify Fire Department |  | Notify Alarm company |  |
|  | Work to be continuous |  | Additional watchman surveillance |  |
|  | Emergency connection planned |  |  |  |
| PERMIT BEGINS | PERMIT ENDS (time job ends) |
|  | Date:……./….../……… Time:………….24HR | Date:……./….../……… Time:………….24HR |
| EMERGENCY INFORMATION |
| If a fire occurs call: |  | Ph: |  |
| Location of Nearest Manual Call Point: |  |

| Section 2: Authorisation by FM Assist |
| --- |
| The above work is authorised to proceed subject to the following action being taken prior to work starting and procedures being maintained for the duration of the work. Each item is to be checked by the Permit Issuer/FM Assist prior to work starting for each period (delete & initial if & where Not Applicable): |
| Signature: | Date: |
| Name: | Position/Title: |

| 1. Fire sprinklers and/or thermal detectors must be confirmed as operational | NA | ( | Yes | ( | No | ( |
| --- | --- | --- | --- | --- | --- | --- |
| 2. Smoke detectors must be isolated in the work area. | NA | ( | Yes | ( | No | ( |
| 3. Hose reel provided. | NA | ( | Yes | ( | No | ( |
| 4. Fire extinguisher provided (at the work site). | NA | ( | Yes | ( | No | ( |
| 5. Alternate Warning System or Procedure must be implemented. (EWIS Isolation) If the Impairment exceeds 12 hours the Insurance Office is to be advised. | NA | ( | Yes | ( | No | ( |

| Section 3: Work Completed & Impairment Reinstated |
| --- |
| Name: Signature: | Date:……………..… Time am/pm:……............. |